Connecting a CAS/ Kilotech PD1 Scale to ER-A610/570

Scale set for lbs.

1. If a cable was not supplied use the following pin – out :

2. Change service mode settings:

946 0000

945 0010

903B = 0

Manual Scale (use scale key during operation)

No Tare tables:

903C=1

Tare tables:

903C=3

Automatic Scale entry

No tare tables:

903C=0

Tare tables:

903C=2

Scale set for kg.

3. If a cable was not supplied use the following pin – out :

4. Change service mode settings:

946 0000

945             0010

903B = 2

Manual Scale (use scale key during operation)

No Tare tables:

903C=1

Tare tables:

903C=3

Automatic Scale entry (

No tare tables:

903C=0

Tare tables:

903C=2

